## BACK UP POWER HEIRACHY-COMPLETE (hidden)
PRODUCT CODE | PDF | IMAGE | WORD | DESCRIPTION | MAIN | SUB1 | SUB2 | SUB3 | SUB4 | SUB5 | BRAND / SUPPLIER
S/15K3187 |  | a |  | BATTERY CABINET 450X470X620 | ENERGY | BACK-UP P OWER | ACCESSSORIES | BATTERY CABINET |  |  | MANTECH
S/15K5741 |  | a |  | BATTERY CABINET 580X450X620 | ENERGY | BACK-UP P OWER | ACCESSSORIES | BATTERY CABINET |  |  | MANTECH
S/200NHG1B |  |  |  | 200A gG DIN NH1 FUSE 500V | ENERGY | BACK-UP P OWER | ACCESSSORIES | FUSE |  |  | APT
S/325030 |  |  |  | 1P FUSE PROTECTION KIT IP20 NH00 160A | ENERGY | BACK-UP P OWER | ACCESSSORIES | FUSE |  |  | EM
S/352250 |  |  |  | 250A NH1 1P FUSE BASE OPEN TYPE[NO COVER] | ENERGY | BACK-UP P OWER | ACCESSSORIES | FUSE |  |  | EM
S/354115 |  |  |  | 160A NH00/000 1P FUSE BASE | ENERGY | BACK-UP P OWER | ACCESSSORIES | FUSE |  |  | EM
S/381070 |  |  |  | 125A gG NH00 FUSE 500V | ENERGY | BACK-UP P OWER | ACCESSSORIES | FUSE |  |  | EM
S/381260 |  |  |  | 200A gG DIN NH1 FUSE LINK 500V | ENERGY | BACK-UP P OWER | ACCESSSORIES | FUSE |  |  | EM
S/FH1-1 |  |  |  | SINGLE POLE SWITCH DISCONNECT 250A | ENERGY | BACK-UP P OWER | ACCESSSORIES | SWITCH DISCONNECTOR |  |  | APT
S/K00263 |  | a |  | FLOOR STANDING 13U 600MM DEEP WITH 19" FANS +SHELVES REF:CBN130606LAMBDA | ENERGY | BACK-UP P OWER | ACCESSSORIES | BATTERY CABINET |  |  | ACTSYS
S/PP035BK |  |  |  | 35MM SOLAR DC CABLE BLK | ENERGY | BACK-UP P OWER | ACCESSSORIES | DC CABLE |  |  | ALVERN
S/PP035RD |  |  |  | 35MM SOLAR DC CABLE RED | ENERGY | BACK-UP P OWER | ACCESSSORIES | DC CABLE |  |  | ALVERN
S/SF263 |  |  |  | 63A 2P CHANGEOVER SWITCH | ENERGY | BACK-UP P OWER | ACCESSSORIES | CHANGEOVER SWITCH |  |  | EM
S/SYSMK5PARAKIT |  |  |  | SYNERJI AXPERT 5KVA PARALLEL KIT | ENERGY | BACK-UP P OWER | ACCESSSORIES | PARALLEL KIT |  |  | ENERJI
S/VF112TJ |  |  |  | 12 WAY FLUSH D/B T/PARENT DOOR | ENERGY | BACK-UP P OWER | ACCESSSORIES | DISTRIBUTION BOARD |  |  | EM
S/WIFI-STICK |  |  |  | FULL REMOTE CONTROL | ENERGY | BACK-UP P OWER | ACCESSSORIES | WIFI STICK |  |  | RED ENERGY
S/CEIL1.5KW100LA | a | a | a | PLUG & PLAY 1450kVA W/100AH | ENERGY | BACK-UP P OWER | BACK-UP KITS | 1.5kVA |  |  | SBS
S/CEIL1.5KW200LA | a | a | a | PLUG & PLAY 1450kVA W/200AH | ENERGY | BACK-UP P OWER | BACK-UP KITS | 1.5kVA |  |  | SBS
S/M30003KW100 | a |  | a | 3KW INVERTER KIT 1X100AH LITH BATT MID | ENERGY | BACK-UP P OWER | BACK-UP KITS | 3kVA |  |  | SBS
S/M30003KW200 | a |  | a | 3KW INVERTER KIT 1X200AH LITH BATT MID | ENERGY | BACK-UP P OWER | BACK-UP KITS | 3kVA |  |  | SBS
S/M500010KW100 | a |  | a | 5KW INVERTER KIT(5kwx2) 1X100AH LITH BATT MID | ENERGY | BACK-UP P OWER | BACK-UP KITS | 5kVA |  |  | SBS
S/M50005KW100 | a |  | a | 5KW INVERTER KIT 1X100AH LITH BATT MID | ENERGY | BACK-UP P OWER | BACK-UP KITS | 5kVA |  |  | SBS
S/OHM12KW3PH100LI |  | a |  | OHM 12KW KIT W/100AH LITHIUM ION | ENERGY | BACK-UP P OWER | BACK-UP KITS | 12kVA |  |  | RED ENERGY
S/OHM12KW3PH200LI |  | a |  | OHM 12KW KIT W/200AH LITHIUM ION | ENERGY | BACK-UP P OWER | BACK-UP KITS | 12kVA |  |  | RED ENERGY
S/OHM5KW100LI | a | a | a | OHM 5KW KIT W/100AH LITHIUM ION | ENERGY | BACK-UP P OWER | BACK-UP KITS | 5kVA |  |  | RED ENERGY
S/OHM5KW200LI | a | a | a | OHM 5KW KIT W/200AH LITHIUM ION | ENERGY | BACK-UP P OWER | BACK-UP KITS | 5kVA |  |  | RED ENERGY
S/OHM8KW100LI | a | a | a | OHM 8KW KIT W/100AH LITHIUM ION | ENERGY | BACK-UP P OWER | BACK-UP KITS | 8kVA |  |  | RED ENERGY
S/OHM8KW200LI | a | a | a | OHM 8KW KIT W/200AH LITHIUM ION | ENERGY | BACK-UP P OWER | BACK-UP KITS | 8kVA |  |  | RED ENERGY
S/SYN10KW200 |  | a |  | 10KW INVERTER KIT 4X200AH BATT ECO | ENERGY | BACK-UP P OWER | BACK-UP KITS | 10kVA |  |  | ENERJI
S/SYN10KW800 |  | a |  | 10KW INVERTER KIT 800AH BATT ECO | ENERGY | BACK-UP P OWER | BACK-UP KITS | 10kVA |  |  | ENERJI
S/SYN3KW100 | a | a | a | 3KW INVERTER KIT 2X100AH BATT ECO | ENERGY | BACK-UP P OWER | BACK-UP KITS | 3kVA |  |  | ENERJI
S/SYN3KW200 | a | a | a | 3KW INVERTER KIT 2X200AH BATT ECO | ENERGY | BACK-UP P OWER | BACK-UP KITS | 3kVA |  |  | ENERJI
S/SYN5KW100 | a | a | a | 5KW INVERTER KIT 4X100AH BATT ECO | ENERGY | BACK-UP P OWER | BACK-UP KITS | 5kVA |  |  | ENERJI
S/SYN5KW200 | a | a | a | 5KW INVERTER KIT 4X200AH BATT ECO | ENERGY | BACK-UP P OWER | BACK-UP KITS | 5kVA |  |  | ENERJI
S/VICT10KW100LI | a | a | a | VICTRON 10kVA KIT W/100AH LITHIUM ION | ENERGY | BACK-UP P OWER | BACK-UP KITS | 10kVA |  |  | SBS
S/VICT10KW200LI | a | a | a | VICTRON 10kVA KIT W/200AH LITHIUM ION | ENERGY | BACK-UP P OWER | BACK-UP KITS | 10kVA |  |  | SBS
S/VICT3KW100LA | a | a | a | VICTRON 3kVA KIT W/100AH LEAD ACID | ENERGY | BACK-UP P OWER | BACK-UP KITS | 3kVA |  |  | SBS
S/VICT3KW200LA | a | a | a | VICTRON 3kVA KIT W/200AH LEAD ACID | ENERGY | BACK-UP P OWER | BACK-UP KITS | 3kVA |  |  | SBS
S/VICT5KW100LA | a | a | a | VICTRON 5kVA KIT W/100AH LEAD ACID | ENERGY | BACK-UP P OWER | BACK-UP KITS | 5kVA |  |  | SBS
S/VICT5KW100LI | a | a | a | VICTRON 5kVA KIT W/100AH LITHIUM ION | ENERGY | BACK-UP P OWER | BACK-UP KITS | 5kVA |  |  | SBS
S/VICT5KW200LA | a | a | a | VICTRON 5kVA KIT W/200AH LEAD ACID | ENERGY | BACK-UP P OWER | BACK-UP KITS | 5kVA |  |  | SBS
S/VICT5KW200LI | a | a | a | VICTRON 5kVA KIT W/200AH LITHIUM ION | ENERGY | BACK-UP P OWER | BACK-UP KITS | 5kVA |  |  | SBS
S/BATTLITB100AH | a |  | a | REVO LITHIUM BATT -1ST LIFE 4U 51.2V ,B100AH,5.1KWH WITH BUILT IN BMS | ENERGY | BACK-UP P OWER | BATTERIES | LITHIUM ION | 5.1KWH | 48V | AXIZ
S/LFP5T48100 |  |  |  | LITHIUM ION PHOSPHATE 4.8KW | ENERGY | BACK-UP P OWER | BATTERIES | LITHIUM ION | 4.8KWH | 48V | FN BATTERY
S/NXT 100-12 | a | a | a | 12volt 100a/h AGM | ENERGY | BACK-UP P OWER | BATTERIES | LEAD ACID | 100AH | 12V | SBS
S/NXT200-12 | a | a | a | 12volt 200a/h AGM | ENERGY | BACK-UP P OWER | BATTERIES | LEAD ACID | 200AH | 12V | SBS
S/SHOTO-BATTERY | a | a | a | SHOTO 4.8KWH LITHIUM BATTERY | ENERGY | BACK-UP P OWER | BATTERIES | LITHIUM ION | 4.8KWH | 12V | RED ENERGY
S/SYSCG12-100BK | a | a | a | SYNERJI BLACK SEALED ACID GEL BATTERY 12V 100AH | ENERGY | BACK-UP P OWER | BATTERIES | LEAD ACID | 100AH | 12V | ENERJI
S/SYSCG12-200BK | a | a | a | SYNERJI BLACK SEALED ACID GEL BATTERY 12V 200AH | ENERGY | BACK-UP P OWER | BATTERIES | LEAD ACID | 200AH | 12V | ENERJI
S/DEYE-12KW-INV |  | a |  | DEYE HYBRID GRID-TIE INVERTER 12KW 3 PHASE | ENERGY | BACK-UP P OWER | INVERTERS | GRID TIE / HYBRID | 12KVA |  | RED ENERGY
S/DEYE-5KW-INV | a | a | a | DEYE HYBRID GRID-TIE INVERTER 5KW | ENERGY | BACK-UP P OWER | INVERTERS | GRID TIE / HYBRID | 5KVA |  | RED ENERGY
S/DEYE-8KW-INV | a | a | a | DEYE HYBRID GRID-TIE INVERTER 8KW | ENERGY | BACK-UP P OWER | INVERTERS | GRID TIE / HYBRID | 8KVA |  | RED ENERGY
S/IMEON-3KW -INV |  |  |  | IMEON 3.6KW INCLUDING WIFI COMM BOX | ENERGY | BACK-UP P OWER | INVERTERS | HYBRID | 3.6KVA |  | AXIZ
S/M5000 | a |  | a | M5000 5000W PURE SINE HYBRID | ENERGY | BACK-UP P OWER | INVERTERS | HYBRID | 5KVA |  | SBS
S/PHOCOS-5KW-INV | a |  | a | PHOCOS ANY GRID -5KW HYBRID INVERTER | ENERGY | BACK-UP P OWER | INVERTERS | HYBRID | 5KVA |  | AXIZ
S/SYSMK5K48VEXCPK | a | a | a | SYNERJI 5KVA/5KW 80 AMP OFF GRID (EXCLU PARA KIT) | ENERGY | BACK-UP P OWER | INVERTERS | OFF GRID | 5KVA |  | ENERJI
S/SYSV18-3K-PK | a | a | a | SYNERJI 3KVA/3.0KW 24V OFF GRID INVERTER 50A PWM | ENERGY | BACK-UP P OWER | INVERTERS | OFF GRID | 3KVA |  | ENERJI

## BACK UP POWER HEIRACHY - E COMM
PRODUCT CODE | SUPPLIER CODE | COMMERCE | DESCRIPTION | NEW DESCRIPTION (TITLE) | MAIN | SUB1 | SUB2 | BRAND / SUPPLIER | SUB3 | SUB4 | SUB5
SCEIL1.5KW100LA | CEIL1.5KW100LA | COMMERCE |  | Plug & Play 1450kVA W/100AH | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 1.5kW
SCEIL1.5KW200LA | CEIL1.5KW200LA | COMMERCE |  | Plug & Play 1450kVA W/200AH | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 1.5kW
SCEIL2.5KW100LA | CEIL2.5KW100LA | ADDITION |  | Plug & Play 2500Va W/100AH | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 2.5kW
SCEIL2.5KW200LA | CEIL2.5KW200LA | ADDITION |  | Plug & Play 2500Va W/200AH | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 2.5kW
SHYBRID5KW-2BATT-KIT-LI | HYBRID5KW-2BATT-KIT-LI | ADDITION |  | 5kW Inverter With 4.8kW Battery | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 5kW
SHYBRID8KW-2BATT-KIT-LI | HYBRID8KW-2BATT-KIT-LI | ADDITION |  | 8kW Inverter With 4.8kW Battery | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 8kW
SHYBRID-INV-5KW-LI | HYBRID-INV-5KW-LI | ADDITION |  | 5kW Inverter With 4.8kW Battery | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 5kW
SHYBRID-INV-8KW-LI | HYBRID-INV-8KW-LI | ADDITION |  | 8kW Inverter With 4.8kW Battery | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 8kW
SM30003KW100 | M30003KW100 | COMMERCE |  | M3000 3kW Kit W/100AH | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 3kW
SM30003KW200 | M30003KW200 | COMMERCE |  | M3000 3kW Kit W/200AH | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 3kW
SM500010KW100 | M500010KW100 | COMMERCE |  | 5kW Inverter Kit(5kWx2) 1X100AH Lith Batt Mid | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 5kW
SM50005KW100 | M50005KW100 | COMMERCE |  | 5kW Inverter Kit 1X100AH Lith Batt Mid | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 5kW
SM50005KW200 | M50005KW200 | ADDITION |  | M5000 5kW Kit W/200AH | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 5kW
SMECER-3KW-100-KIT-LA | MECER-3KW-100-KIT-LA | ADDITION |  | Mecer 3kW Kit W/100AH | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 3kW
SMECER-3KW-200-KIT-LA | MECER-3KW-200-KIT-LA | ADDITION |  | Mecer 3kW Kit W/200AH | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 3kW
SMECER-5KW-100-KIT-LA | MECER-5KW-100-KIT-LA | ADDITION |  | Mecer 5kW Kit W/100AH | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 5kW
SMECER-5KW-200-KIT-LA | MECER-5KW-200-KIT-LA | ADDITION |  | Mecer 5kW Kit W/200AH | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 5kW
SOHM5KW100LI | OHM5KW100LI | COMMERCE |  | Ohm 5kW Kit W/100AH Lithium Ion | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 5kW
SOHM5KW200LI | OHM5KW200LI | COMMERCE |  | Ohm 5kW Kit W/200AH Lithium Ion | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 5kW
SOHM8KW100LI | OHM8KW100LI | COMMERCE |  | Ohm 8kW Kit W/100AH Lithium Ion | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 8kW
SOHM8KW200LI | OHM8KW200LI | COMMERCE |  | Ohm 8kW Kit W/200AH Lithium Ion | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 8kW
SSYN10KW200 | SYN10KW200 | COMMERCE |  | 10kW Inverter Kit 200AH Batt Eco | ENERGY | BACK-UP P OWER | BACK-UP KITS | ENERJI | 10kW
SSYN10KW800 | SYN10KW800 | COMMERCE |  | 10kW Inverter Kit 800AH Batt Eco | ENERGY | BACK-UP P OWER | BACK-UP KITS | ENERJI | 10kW
SSYN3KW100 | SYN3KW100 | COMMERCE |  | 3kW Inverter Kit 100AH Batt Eco | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 3kW
SSYN3KW200 | SYN3KW200 | COMMERCE |  | 3kW Inverter Kit 200AH Batt Eco | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 3kW
SSYN5KW100 | SYN5KW100 | COMMERCE |  | 5kW Inverter Kit 100AH Batt Eco | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 5kW
SSYN5KW200 | SYN5KW200 | COMMERCE |  | 5kW Inverter Kit 200AH Batt Eco | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 5kW
SSYN5KW400 | SYN5KW400 | ADDITION |  | 5kW Inverter Kit 400AH Batt Eco | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 5kW
SVICT10KW100LI | VICT10KW100LI | COMMERCE |  | Victron 10kVA Kit W/100AH Lithium Ion | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 10kW
SVICT10KW200LI | VICT10KW200LI | COMMERCE |  | Victron 10kVA Kit W/200AH Lithium Ion | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 10kW
SVICT3KW100L1 | VICT3KW100L1 | ADDITION |  | Victron 3kVA Kit W/4.8kW | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 3kW
SVICT3KW100LA | VICT3KW100LA | COMMERCE |  | Victron 3kVA Kit W/100AH Lead Acid | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 3kW
SVICT3KW200L1 | VICT3KW200L1 | ADDITION |  | Victron 3kVA Kit W/200AH | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 3kW
SVICT3KW200LA | VICT3KW200LA | COMMERCE |  | Victron 3kVA Kit W/200AH Lead Acid | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 3kW
SVICT5KW100LA | VICT5KW100LA | COMMERCE |  | Victron 5kVA Kit W/100AH Lead Acid | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 5kW
SVICT5KW100LI | VICT5KW100LI | COMMERCE |  | Victron 5kVA Kit W/100AH Lithium Ion | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 5kW
SVICT5KW200LA | VICT5KW200LA | COMMERCE |  | Victron 5kVA Kit W/200AH Lead Acid | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 5kW
SVICT5KW200LI | VICT5KW200LI | COMMERCE |  | Victron 5kVA Kit W/200AH Lithium Ion | ENERGY | BACK-UP P OWER | BACK-UP KITS | MAGNET | 5kW